BID UNIT DESCRIPTIONS

These descriptions are provided for the units not covered in the 2024-2025 Outside Electrical Line Construction Contract.

NEW LINE CONSTRUCTION

SECTION 1 – FOUNDATION ASSEMBLY UNITS 

FOUNDATION ASSEMBLY UNITS

Foundation assembly units include furnishing and installing miscellaneous materials, miscellaneous labor and providing miscellaneous equipment for backfilling and proper disposal of excess materials necessary to provide a complete foundation assembly as indicated on contract Drawings and Specifications.

	UNIT
	DESCRIPTION

	+SM31A
	This unit consists of furnishing, delivering, and installing imported Type II backfill material (Municipality of Anchorage Specification) for one (1) pole embedded directly into the ground as shown on the Drawings.  It includes all miscellaneous labor, materials, and equipment for furnishing and hauling backfill material to the site, backfilling and compacting, and for hauling and disposing off the right of way of the material displaced by the imported backfill.



	
	


SECTION 2 – STRUCTURE ASSEMBLY UNITS
Structure assembly units include furnishing and installing miscellaneous materials, miscellaneous labor and providing miscellaneous equipment necessary to provide a complete structure assembly as indicated on contract Drawings and Specifications. All structure handling, structure unloading and structure hauling from Chugach delivery site, structure hauling from the Contractor storage site, and blocking required for temporary storage is also included in this unit.  Any work needed on existing facilities required for the installation of new structure including but not limited to cover-up, temporary guys, temporary cross-arms, etc., and adjustment of structures after wire stringing due to settlement or structure movement is included in these units.
	WOOD POLES

85’-95’ WOOD

	This Wood Pole structure unit consist of the installation of one (1) direct embedded wood pole of the length indicated, of any class, installed in place. Excavation, placement and compaction of native backfill material necessary to provide a complete pole installation is included in this unit. Also included in this unit is the furnishing and installation of casing, if used at the Contractor’s discretion.  Furnishing and delivering imported backfill is not included in this unit. This unit does not include the structure top assembly unit or other parts attached to the structure, which are separate units.


	
	


SECTION 3 – STRUCTURE TOP ASSEMBLY UNITS
	UNIT
	DESCRIPTION

	
	

	115-TAN, 3-AR

	These structure top assembly units consist of the installation of hardware, insulators, conductor clamps and ties, or dead-end assemblies required to support three phases of power conductor. Any required blocking provided by the Contractor for temporary storage shall be included in these bid units.  Re-tightening of factory installed hardware shall be included in these units.  Also included in these units are any required field drilled holes, field cut pole gains, supply of treatment and treating of the drilled holes and pole gains, and replacement of damaged poles due to miss-drilling of holes by Contractor. These units include the installation of Chugach furnished materials as listed in the List of OFM. These units include all miscellaneous labor and materials. These units also include all equipment for handling, hauling and assembly necessary to provide a complete structure top assembly installation. These units do not include the structure, signs or conductor.





SECTION 4 – CONDUCTOR ASSEMBLY UNITS

CONDUCTOR ASSEMBLY

A conductor assembly unit includes installation of Chugach furnished materials and the furnishing and installation of all miscellaneous labor, materials and equipment for a complete conductor installation. These units include all conductor handling, hauling from Chugach storage site, and cutting, splicing, sagging, clipping, and testing in accordance with the specifications. These units include returning to Chugach Warehouse of excess conductor, all empty reels that are returnable to the manufacturer, and disposal of reels that are not returnable.
	UNIT
	DESCRIPTION

	
	

	IBIS TRANSFER

	This conductor unit consists of relocating existing conductor from existing structures to new structures.  It includes temporarily securing the conductor and installation of connectors.  All labor and miscellaneous materials associated with clipping, erection and removal of temporary guard structures, cover up, etc. for the conductor shall be included in this unit. 




SECTION 5 – MISCELLANEOUS ASSEMBLY UNITS

MISCELLANEOUS ASSEMBLY

Miscellaneous assembly units include installation of Chugach furnished materials. These units include Contractor furnished materials and equipment for handling and hauling miscellaneous assembly units. These units also include all miscellaneous labor and materials for a complete miscellaneous assembly
	UNIT
	DESCRIPTION

	
	

	+MH LINEWORK

	This unit consists of one (1) man hour of miscellaneous line work as required and authorized by Chugach. 




REMOVAL/RETIREMENT ASSEMBLY UNITS

REMOVAL ASSEMBLY UNITS

	UNIT
	DESCRIPTION



	*WOOD POLE
	This unit includes all labor, tools, equipment and transportation required to remove and dispose of one wood pole.  The cost of disposal of all discarded materials is included in this unit.



	*115kV POST, *115kV DE

	These units include all labor, tools, equipment and transportation required to remove and dispose of a 3-phase pole top assembly. Unit 115kV DE includes removing double deadend assemblies. Unit 115kV POST includes removing vertical, horizontal, or jumper post insulators. The cost of disposal of all discarded materials is included in this unit.


SURVEY UNITS

	UNIT
	DESCRIPTION

	
	

	SURVEY 1
	This survey unit consists of all surveying as described in the specifications including all associated work required for the construction survey.



	SURVEY 2
	This survey unit consists of all surveying as described in the specifications plus all associated work (final survey and deliverables) required for the post- construction survey.




June 27, 2025
Page 4 of 8
Gambell St. 115 kV Pole Relocate


W.O. No.  E2320071

