## OH SUMMARY
SOUTH CAMPUS POLE RELOCATION - PHASE 1
W.O. NO. E2220061
BID SCHEDULE SUMMARY
NEW CONSTRUCTION
SECTION 1 - NEW FOUNDATION ASSEMBLY UNITS |  | $
SECTION 2 - NEW STRUCTURE ASSEMBLY UNITS |  | $
SECTION 3 - NEW STRUCTURE TOP ASSEMBLY UNITS |  | $
SECTION 4 - NEW GUY ASSEMBLY UNITS |  | $
SECTION 5 - NEW CONDUCTOR/CABLE ASSEMBLY UNITS |  | $
SECTION 6 - NEW MISCELLANEOUS ASSEMBLY UNITS |  | $
| TOTAL NEW CONSTRUCTION | $
REMOVAL/RETIREMENT ASSEMBLY UNITS |  | $
SURVEY UNITS |  | $
| SUBTOTAL: | $
MOBILIZATION
| (not to exceed 5% of Subtotal above) | $
DEMOBILIZATION
| (not to be less than 25% of Mobilization Cost) | $
| TOTAL BID: | $

## OH SECTION 1 FOUNDATIONS
SOUTH CAMPUS POLE RELOCATION - PHASE 1
W.O. NO. E2220061
BID SCHEDULE
NEW LINE CONSTRUCTION
SECTION 1 - FOUNDATION ASSEMBLY UNITS
| BID UNIT | DESCRIPTION | QUANTITY | UNIT | LABOR | MATERIAL | LABOR & MATERIAL | EXTENDED COST
| PP24x4-35 | 24" DIA. X 1/2" WALL X 35' LONG DRIVEN PIPE PILE W/ WELDED TOP PLATE | 3 | EA | 0 | 0 | 0 | 0
| PP30x5-35 | 30" DIA. X 5/8" WALL X 35' LONG DRIVEN PIPE PILE W/ WELDED TOP PLATE | 2 | EA | 0 | 0 | 0 | 0
[7 empty] | TOTAL SECTION 1 - FOUNDATION ASSEMBLY UNITS: | 0

## OH SECTION 2 STRUCTURE UNITS
SOUTH CAMPUS POLE RELOCATION - PHASE 1
W.O. NO. E2220061
BID SCHEDULE
NEW LINE CONSTRUCTION
SECTION 2 - STRUCTURE ASSEMBLY UNITS
| BID UNIT | DESCRIPTION | QTY | UNIT | LABOR | MATERIAL | LABOR & MATERIAL | EXTENDED COST
| ITIN 1-2 60' | 60' ITIN 1-2 STEEL POLE STRUC. W/ ANCHOR STUDS FOR ATTACHING TO PIPE PILE | 2 | EA | 0 | 0 | 0 | 0
| N-1 27.5' | 27.5' N-1 STEEL STUB POLE STRUC. W/ ANCHOR STUDS FOR ATTACHING TO PIPE PILE | 1 | EA | 0 | 0 | 0 | 0
| N-4 29' | 29' N-4 STEEL H-FRAME STRUC. W/ ANCHOR STUDS FOR ATTACHING TO PIPE PILES | 1 | EA | 0 | 0 | 0 | 0
+ | MANHOUR | LABOR AND TOOLS FOR ONE HOUR OF ADDITIONAL CHUGACH-DIRECTED WORK | 200 | MH | 0 | 0 | 0 | 0
[7 empty] | TOTAL SECTION 2 - STRUCTURE ASSEMBLY UNITS: | 0
+ NOTE: THIS UNIT WILL BE APPLIED ONLY IF REQUIRED AND AUTHORIZED BY CHUGACH. UNIT QUANTITY OF THIS BID UNIT
MAY BE INCREASED, DECREASED AND/OR DELETED FROM THE CONTRACT WITHOUT ADJUSTMENTS TO THE UNIT PRICE.

## OH SECTION 3 STRUC TOP UNIT
SOUTH CAMPUS POLE RELOCATION - PHASE 1
W.O. NO. E2220061
BID SCHEDULE
NEW LINE CONSTRUCTION
SECTION 3 - STRUCTURE TOP ASSEMBLY UNITS
BID UNIT | DESCRIPTION | QUANTITY | UNIT | LABOR | MATERIAL | LABOR & MATERIAL | EXTENDED COST
STM-10 | 138kV DEADEND SINGLE TONGUE, 1 PHASE | 12 | EA | 0 | 0 | 0 | 0
STM-3B | 138kV JUMPER POST, 1 PHASE | 6 | EA | 0 | 0 | 0 | 0
STM-10S | 34.5kV DEADEND, 1 PHASE | 6 | EA | 0 | 0 | 0 | 0
STM-3FX | 34.5kV VERTICAL POST, W/O ARMOR RODS, 1 PHASE | 3 | EA | 0 | 0 | 0 | 0
[6 empty] | TOTAL SECTION 3 - STRUCTURE TOP ASSEMBLY UNITS: | 0

## OH SECTION 4 GUYS
SOUTH CAMPUS POLE RELOCATION - PHASE 1
W.O. NO. E2220061
BID SCHEDULE
NEW LINE CONSTRUCTION
SECTION 4 - GUY ASSEMBLY UNITS
| BID UNIT | DESCRIPTION | QUANTITY | UNIT | LABOR | MATERIAL | LABOR & MATERIAL | EXTENDED COST
| TG-21D-2FG | SINGLE SPAN GUY, TWO INSULATORS | 9 | EA | 0 | 0 | 0 | 0
[7 empty] | TOTAL SECTION 4 - GUY ASSEMBLY UNITS: | 0

## OH SECTION 5 CONDUCTOR ASSEMBLY
SOUTH CAMPUS POLE RELOCATION - PHASE 1
W.O. NO. E2220061
BID SCHEDULE
NEW LINE CONSTRUCTION
SECTION 5 - CONDUCTOR/CABLE ASSEMBLY UNITS
BID UNIT | DESCRIPTION | QUANTITY | UNIT | LABOR | MATERIAL | LABOR & MATERIAL | EXTENDED COST
138KV RELOCATE | RELOCATE 138kV (795 ACSR "DRAKE") CONDUCTOR | 1 | LS | 0 | 0 | 0 | 0
35KV RELOCATE | RELOCATE 34.5kV (795 AAC "ARBUTUS") CONDUCTOR | 1 | LS | 0 | 0 | 0 | 0
[6 empty] | TOTAL SECTION 5 - CONDUCTOR/CABLE ASSEMBLY UNITS: | 0

## OH SECTION 6 MISC. UNIT
SOUTH CAMPUS POLE RELOCATION - PHASE 1
W.O. NO. E2220061
BID SCHEDULE
NEW LINE CONSTRUCTION
SECTION 6 - MISCELLANEOUS ASSEMBLY UNITS
BID UNIT | DESCRIPTION | QUANTITY | UNIT | LABOR | MATERIAL | LABOR & MATERIAL | EXTENDED COST
SM52-3 | STRUCTURE NUMBER SIGN | 4 | EA | 0 | 0 | 0 | 0
SM52-3T | AERIAL PATROL SIGN, STEEL STRUC. TOP MOUNTED | 2 | EA | 0 | 0 | 0 | 0
SM52-3B | DANGER SIGN FOR STEEL POLE | 5 | EA | 0 | 0 | 0 | 0
[6 empty] | TOTAL SECTION 6 - MISCELLANEOUS ASSEMBLY UNITS: | 0

## OH REMOVAL
SOUTH CAMPUS POLE RELOCATION - PHASE 1
W.O. NO. E2220061
BID SCHEDULE
REMOVAL/RETIREMENT
REMOVAL/RETIREMENT ASSEMBLY UNITS
BID UNIT | DESCRIPTION | QUANTITY | UNIT | LABOR | MATERIAL | LABOR & MATERIAL | EXTENDED COST
*WOOD POLE | WOOD POLE OF ANY SIZE | 6 | EA. | 0 | 0 | 0 | 0
*GUY | DOWN GUY OR SPAN GUY, 1 OR 2 WIRES | 31 | EA. | 0 | 0 | 0 | 0
*ANCHOR | ANCHOR | 22 | EA. | 0 | 0 | 0 | 0
*138KV POST | 138kV POST ASSEMBLY, 3 PHASE | 2 | EA. | 0 | 0 | 0 | 0
*138KV DE | 138kV SINGLE DEADEND ASSEMBLY, 3 PHASE | 4 | EA. | 0 | 0 | 0 | 0
*35KV DE | 34.5kV SINGLE DEADEND ASSEMBLY, 3 PHASE | 2 | EA. | 0 | 0 | 0 | 0
*35KV POST | 34.5kV POST ASSEMBLY, 3 PHASE | 1 | EA. | 0 | 0 | 0 | 0
[6 empty] | TOTAL - REMOVAL/RETIREMENT ASSEMBLY UNITS: | 0

## SURVEY
SOUTH CAMPUS POLE RELOCATION - PHASE 1
W.O. NO. E2220061
BID SCHEDULE
NEW LINE CONSTRUCTION
SURVEY UNITS
BID UNIT | DESCRIPTION | QUANTITY | UNIT | LABOR | MATERIAL | LABOR & MATERIAL | EXTENDED COST
SURVEY 1 | CONSTRUCTION SURVEY | 1 | LS | 0 | 0 | 0 | 0
SURVEY 2 | POST-CONSTRUCTION SURVEY | 1 | LS | 0 | 0 | 0 | 0
[6 empty] | SURVEY UNITS: | 0

## MOB
SOUTH CAMPUS POLE RELOCATION - PHASE 1
W.O. NO. E2220061
BID SCHEDULE
MOBILIZATION AND DEMOBILIZATION
| BID UNIT | DESCRIPTION | QUANTITY | UNIT | LABOR | MATERIAL | LABOR & MATERIAL | EXTENDED COST
# | MOB | MOBILIZATION | 1 | LS | 0 | 0 | 0 | 0
## | DEMOB | DEMOBILIZATION | 1 | LS | 0 | 0 | 0 | 0
[7 empty] | TOTAL MOBILIZATION AND DEMOBILIZATION: | 0
# | NOTE: BID PRICE AND COMPENSATION FOR MOBILIZATION SHALL NOT EXCEED FIVE PERCENT (5%) OF THE SUBTOTAL OF THE CONSTRUCTION (NEW AND RETIREMENT) UNIT BID PRICES IN THE BID SCHEDULE. IF THE TOTAL COSTS FOR MOBILIZATION ARE ESTIMATED TO EXCEED THE PERCENTAGE AMOUNT ALLOWED, IT SHALL BE HELD THAT SUCH COSTS ARE INCLUDED IN PRICES FOR OTHER ITEMS OF WORK IN THE BID SCHEDULE. PAYMENT SHALL BE AS FOLLOWS: 30% OF THE TOTAL MOBILIZATION AMOUNT SHALL BE PAID AFTER PROJECT SCHEDULE IS APPROVED, CONTRACTOR AND SUBCONTRACTORS ATTEND PRE-CONSTRUCTION MEETING, THE SWPPP NOI IS COMPLETED AND SUBMITTED , AND CONSTRUCTION SURVEY IS COMPLETED. THE REMAINING 70% SHALL BE PAID UPON COMMENCEMENT OF PILE DRIVING IN THE FIELD.
## | NOTE: BID PRICE AND COMPENSATION FOR DEMOBILIZATION SHALL NOT BE LESS THAN 25% OF THE AMOUNT BID FOR MOBILIZATION. PAYMENT SHALL BE AS FOLLOWS: 100% OF THE TOTAL DEMOBILIZATION AMOUNT SHALL BE PAID WHEN THE PROJECT IS COMPLETE AND ALL CLOSE OUT DOCUMENTS ARE SIGNED AND ACCEPTED BY CHUGACH.