## Bid Schedule Summary
NEW CONSTRUCTION
GROUP K: CONDUIT AND CABLE | 0
GROUP M: SITE WORK | 0
GROUP O: GROUNDING | 0
TOTAL NEW CONSTRUCTION | 0
RETIREMENT
GROUP I: RETIREMENT | 0
TOTAL RETIREMENT | 0
TOTAL BID | 0

## Bid Schedule
BID UNIT | DESCRIPTION | TAKEOFF QTY. | UNIT | UNIT LABOR | UNIT MATERIAL | UNIT LABOR & MATERIAL | EXTENDED COST
GROUP K: CONDUIT AND CABLE
K1 | MANHOUR | 100 | ea. |  |  | 0 | 0
Total Group K: | [6 empty] | 0
GROUP M: SITE WORK
M1 | D1 AGGREGATE | 1 | lot |  |  | 0 | 0
M2 | FINAL GRADE/ CLEANUP | 1 | lot |  |  | 0 | 0
Total Group M: | [6 empty] | 0
GROUP O: GROUNDING
O1 | GROUND CONNECTORS | 1 | lot |  |  | 0 | 0
O2 | GROUND RODS & WIRE | 1 | lot |  |  | 0 | 0
O3 | GROUND WELLS | 4 | ea |  |  | 0 | 0
Total Group O: | [6 empty] | 0
GROUP I: RETIREMENT
I-N1 | RETIREMENT, EXISTING FENCE | 1 | lot |  |  | 0 | 0
Total Group I: | [6 empty] | 0

## Bid Unit Description
BID UNIT | DESCRIPTION
NOTES | GENERAL NOTES APPLICABLE TO ALL BID UNITS
1. Cost of dewatering or ground thawing is incidental to cost of affected Bid Unit. No additional compensation will be paid for dewatering or ground thawing.
2. Cost of mobilizing and demobilizing is incidental to cost of the Contract. No additional compensation will be paid for mobilizing and demobilizing related expenses.
3. Cost of surveying is incidental to cost of affected Bid Unit. No additional compensation will be paid for surveying or surveying related expenses.
4. Cost of excavations, clearing, grubbing, and scarifying including but not limited to those excavations provided for general excavation of the Substation site shall include removal, from site, of excess excavated, cleared, grubbed, and scarified materials. Cost of this work is incidental to the cost of the Contract. No additional compensation shall be paid for removal of excess or unusable excavation.
5. Cost of temporary relocation of facilities inside or adjacent to the Substation is incidental to the effected Bid Unit.
K1 | MANHOUR - This unit includes all labor and miscellaneous support tools required to perform one hour of Chugach-directed work.
M1 | D1 AGGREGATE - Includes furnishing, importation, placement, grading, rolling, compaction, testing services, and all miscellaneous labor, equipment, and material to provide D1 Aggregate fill and backfill as specified.
M2 | FINAL GRADE/ CLEANUP - This unit includes the final grading and compaction of the Substation pad. This unit also includes removal from the Substation site and disposal of trash, debris, and excess excavated materials that are not utilized for final grading of the Substation.
O1 | GROUND CONNECTORS - This unit includes furnishing and installation of all ground connectors, clamps, fittings, braids, and all other connectors necessary for the Substation grounding upgrade. This unit includes furnishing and installing all connectors necessary to ground the Substation ground grid mesh, ground wells, fence, gates, and posts as directed by Chugach. This unit also includes all labor equipment to provide a complete Substation connector system in accordance with drawings, specifications and manufacturer's instructions.
O2 | GROUND RODS & WIRE - This unit includes furnishing and installation of all ground rods and ground wire necessary for the Substation grounding upgrade. This unit includes furnishing and installing all ground wire and ground rods necessary for ground the Substation ground grid mesh, ground wells, fence, gates, and posts as directed by Chugach. This unit also includes all labor and equipment to provide a complete Substation grounding wire and rod system in accordance with drawings, specifications and manufacturer's instructions.
O3 | GROUND WELLS - This unit includes furnishing and installation of one ground well necessary for the Substation grounding upgrade. This unit includes furnishing and installing all steel pipe, welding, ground tabs, pipe annulus seal material, well cap, paint, and miscellaneous material necessary to install a ground well. This unit also includes all labor and equipment to provide a complete Substation grounding well in accordance with drawings, specifications and manufacturer's instructions.
I-N1 | RETIREMENT, EXISTING FENCE - This unit includes all labor, materials, and equipment required to retire the existing Substation fence in the locations designated on the drawings. This unit includes clearing and grubbing sufficient area around the fence sections to permit removal of the fence. This units also includes removal and disposal of existing fence fabric, barbed wire, fence posts, fence gates, clearing/grubbing debris, and any miscellaneous materials in accordance with the drawings and specifications.